rtQC

Paper draft

Title: RTQC: A toolbox for Quality Control of real-time fMRI

Abstract

Introduction: Interest in real-time MRI (rt-fMRI) has seen a significant increase in recent years. At the same time, concerns over the validity of functional neuroimaging practices have intensified, something which is especially critical in the rt-fMRI field. Due to the additional complexities of rt-fMRI laboratory setups, a user-friendly, reliable procedure for fundamental quality assurance is urgently needed. …A rt-fMRI experiment usually is quite complex series of imaging manipulations - and a method that is user-friendly informative would be a boon to the field. ... Surprisingly, no user-friendly, open-source toolbox for the quality control of rt-fMRI had been made available prior to the one reported herein.

Aims: This work introduces a collection of tools to assess image quality, made with a focus on ease of use and open-source. We applied these tools to check the first step in the rt-fMRI pipeline: Checking whether images used for rt-fMRI Neurofeedback are consistent with post-experimental scanner DICOM export.

Methods: Using Matlab and other standard neuroscientific software packages (e.g. MRIcroGL, AQUA) we assessed the correspondence between real-time and offline versions of the data acquired using a variety of manufacturers and scanning protocols with regards to: a) the orientation of the data, b) the scaling of the data within volumes across slices and 3) the scaling of the data across acquired volumes. We then implemented a procedure that can convert the real-time data to the standard NIfTI format while ensuring voxelwise correspondence with the equivalent offline versions of the data across all volumes. Additionally, we have designed an audiovisual stimulation paradigm and a suite of high-level computational functions that can be used in combination with existing rt-fMRI analysis software to perform further quality controls and ascertain that the analysis procedures utilized are valid. The toolbox can also provide referenced metrics of data quality and validation of specific analyses through comparison to standard and simulated datasets and standard analysis procedures.

Results: During our tests, considerable inconsistencies were identified between real-time and offline versions of fMRI data with regards to both scaling and orientation. In few cases, these inconsistencies could not be overcome by any of the previously available conversion tools and affected standard data processing procedures. The RTQC toolbox was developed to offer a solution for the rapidly growing rt-fMRI community. Comparing the results from different analysis procedures using the same data from the audiovisual stimulation paradigm, suggests that . . . .

Conclusions: …. We recommend that the quality control procedures implemented in RTQC become a standard preparatory step in future rt-fMRI research and that quality metrics are reported in future publications.

Introduction

Interest in real-time fMRI (rt-fMRI) has seen a significant increase in recent years. At the same time, concerns over the validity of functional neuroimaging practices have intensified. Due to the additional complexities of rt-fMRI laboratory setups, a user-friendly, reliable procedure for fundamental quality assurance is urgently necessitated. Surprisingly, no user-friendly, open-source toolbox for the quality control of rt-fMRI had been made available prior to the one reported herein.....

https://xwiki.nbirn.org:8443/xwiki/bin/view/Function-BIRN/FBIRNScannerCalibration
features the quote: "Our experience indicates that vendor supplied QA tests are not stringent enough to reveal scanners which will perform sub-optimally during a fMRI study."

Each lab is using its own QC protocols, if any, and we have called for a collaboration in building a suite of software tools, in the form of a meta-toolbox that can implement QC. This could be employed:
a) in new labs to overcome known challenges
b) to derive study-specific metrics that can be reported in articles (perhaps as supplementary material) to help acknowledge things that may have gone wrong and to explain some weird findings.

---------------------------------
 Box 1: other (offline) QC software/pipelines

1) AQUA

2) CAT12

3) fBIRN:

 https://xwiki.nbirn.org:8443/xwiki/bin/view/Function-BIRN/AutomatedQA
 (more generally, you can also see:
 http://www.birncommunity.org/resources/tools/fire-primer/fmri-imaging-quality-assurance-methods/
 &
 https://xwiki.nbirn.org:8443/xwiki/bin/view/Function-BIRN/FBIRN_Best_Practices

4) https://github.com/poldracklab/mriqc

5) Preprocessed Connectomes Project Quality Assessment Protocol (QAP; http://preprocessed-connectomes-project.org/quality-assessment-protocol, (Shehzad et al., 2015)).

6) http://www.fieldtriptoolbox.org/development/realtime/fmri

/) http://www.mccauslandcenter.sc.edu/crnl/tools/qa

---------------------------------

---------------------------------
 Box 2: online analysis software/pipelines

1) TURBO BRAIN VOYAGER / BAX

2) BART

3) RETIF

4) MURFI2

5) FIRE

5) FRIEND
6) http://www.fieldtriptoolbox.org/development/realtime/fmri

7) ….
---------------------------------

Methods

Using Matlab and other standard neuroscientific software packages (e.g. MRIcroGL, AQUA) we assessed the correspondence between real-time and offline versions of the data acquired using a variety of scanning protocols with regards to: a) the orientation of the data, b) the scaling of the data within volumes across slices and 3) the scaling of the data across acquired volumes. We then implemented a procedure that can convert the real-time data to the standard NIfTI format while ensuring voxelwise correspondence with the equivalent offline versions of the data. Additionally, we have designed an audiovisual stimulation paradigm and a suite of high-level computational functions that can be used in combination with existing rt-fMRI analysis software to perform further quality controls and ascertain that the analysis procedures utilized are valid. The toolbox can also provide referenced metrics of data quality and validation of specific analyses through comparison to standard and simulated datasets and standard analysis procedures......We Specifically also test scans where we know there are issues. …

Results

During our tests, considerable inconsistencies were identified between real-time and offline versions of fMRI data with regards to both scaling and orientation. In some cases, these inconsistencies could not be overcome by any of the previously available conversion tools and affected standard data processing procedures. The RTQC toolbox was developed to offer a solution for the rapidly growing rt-fMRI community. Comparing the results from different analysis procedures using the same data from the audiovisual stimulation paradigm, suggests that . . . .

We present a library of images from different scanning protocols and scanner vendors, anonymized/defaced, in order to share anolamous findings and have reference data for a QA pipeline (so people can cross-check their QA findings against our open-source distributed data).
Figure 1: Example instances of bad online/offline correspondence

Figure 2: Audiovisual and motor paradigm for multi-center QC

Figure 3: Comparison of existing real-time pipelines on example data from audiovisual and motor paradigm.

Discussion / Conclusions

We recommend that the quality control procedures implemented in RTQC become a standard preparatory step in future rt-fMRI research and that quality metrics are reported in future publications....